## Slide 1
TENSE Ball:
Triboelectric Nanogenerator-based Therapeutic Stress Ball
Professor: Dr. Omer Inan
ECE 4781/ 6781
12/3/2020
Group Members:
Can F. Usanmaz, Fereshteh Shahmiri, Steven A. Schwartz,
Alec Mills, Alexander A. Fache, Omari Weems

## Slide 2
INTRODUCTION
Common restorative hand therapy exercises that promote strength and dexterity

## Slide 3: OPERATION
Electrodermal Activity Measurement
Triboelectric Nanogenerator Principles
Accelerometer (3-Axis)
Monitoring TENSE ball deformations based on charge distribution between Device Layers which is induced from skin

## Slide 4: FABRICATION
Fabrication Process –
1)3D printed core, 2, 4,6) first silicone layer, 3, 5) first layer of Nylon thread, 6) textile dry electrodes for EDA measurement

## Slide 5: FABRICATION
3D Printed Molds
Casting Silicone Rubber
Nylon Thread Electrodes

## Slide 6
EMBEDDED SYSTEM ARCHITECTURE

## Slide 7
SYSTEM COMPONENTS
LTC 1391
AD 5940
LSM90S1

## Slide 8
RF Protection
ESD Protection
Instrumentation Amplifier
HPF – 30mHz
5th Order LPF – 200Hz
Unity Gain Inverting Amplifier
Non-inv Amp
Gain: 4
TENG CIRCUIT DESIGN & SIMULATION

## Slide 9
TENG CIRCUIT DESIGN & SIMULATION
Simulated signal input
Simulated signal output
Circuit frequency response

## Slide 10
Arduino Uno MCU
EVAL- AD5940BIOZ for EDA
TENG Conditioning Circuit
TENG Sensor Network
EDA Current Limiting & Isolation
Arduino Uno MCU
ASSEMBLED TENSE PROTOTYPE SYSTEM

## Slide 11
ASSEMBLED TENSE PROTOTYPE SYSTEM
1) Single channel TENG response, 2) Heatmap of the entire electrode network, 3) 3-axis accelerometer signals, 4) EDA readout interface
1
2
3
4